## Slide 1: Zooming tomography in X-Ray CT
Benjamin Yvernault

## Slide 2: Summary
The problem
Context of the study
Solution 1 : supplement of the sinogram
Solution 2 : subtraction of sinograms
Results
In 3D

## Slide 3: The Problem :
Acquisition of the data :
Blue : object
Red : low resolution (lines integrals/source position/trajectory)
Green : high resolution (lines integrals/source position/trajectory)
Black : detector

## Slide 4: The Problem (2) :
Data LR -> not truncated but low resolution
Data HR -> better resolution but truncated
Question : How to reconstruct the object with a better resolution using the BR and HR truncated data?

## Slide 5: Context of the Study
In 2D
Using MATLAB
Fan-beam geometry ( equi-spaced intervals )
Acquisition of the data «low resolution » (LR) and « high resolution » (HR)

## Slide 6: Solution 1 : supplement of the sinogram
The Goal :
Complete the sinogram HR by estimation of the line integrals with the reconstruction of the object in LR
Blue : object
Red line : low resolution (lines integrals/source position/trajectory)
Green : high resolution (lines integrals/source position/trajectory/supplement on the detector)
Black : detector

## Slide 7: Solution 2 : subtraction of sinograms (1)
The Goal :
Estimate the sinogram HR from the object (where you take off the part of the object which can be reconstruct in HR) and subtract it to the HR sinogram
Blue : object
Red line : low resolution (lines integrals/source position/trajectory)
Green : high resolution (lines integrals/source position/trajectory)
Black : detector

## Slide 8: Solution 2 : subtraction of sinograms (2)

## Slide 9: Results : Parameters
Parameters :
D = focal
R_LR = distance source - object LR / R_HR = distance source - object HR
r = radius of the object
nS = number of pixels on the detector
nβ = number of projections
x*y, nx*ny = parameters for the reconstruction of the object
D | R_LR | R_HR | r | ns | nβ | x*y | Nx*Ny
9 | 6 | 3 | 0.8 | 64 | 128 | 1.05r*1.05r | 256*256

## Slide 10: Method 1 : Data

## Slide 11: Method 1 : Sinograms HR
Error = | Sinogram theoretical – Sinogram supplement|

## Slide 12: Method 1 : Reconstructions

## Slide 13: Method 1 : Plans

## Slide 14: Method 2 : Data

## Slide 15: Method 2 : Sinograms HR
Error = | Sinogram theoretical – Sinogram supplement|

## Slide 16: Method 2 : Reconstructions

## Slide 17: In 3D : Data
Low resolution High resolution

## Slide 18: In 3D : Sinograms
Method supplement Method subtract
Error = | Sinogram theoretical – Sinogram supplement/subtract|

## Slide 19: In 3D : Reconstruction using the subtract’s method
Theoretical Subtract

## Slide 20: Thank you for your attention!
If you have any questions?